## Sheet1
Life Support Category | Life Support Type | Life Support Subtype | Component Type
Aquatic
Aquatic | Environmental Quality
Aquatic | Environmental Quality | Disinfection
Aquatic | Environmental Quality | Disinfection | Chlorine/bromine
Aquatic | Environmental Quality | Disinfection | Formaldehyde
Aquatic | Environmental Quality | Disinfection | ORP monitor/controller
Aquatic | Environmental Quality | Disinfection | ORP probe
Aquatic | Environmental Quality | Disinfection | Oxygen concentrator
Aquatic | Environmental Quality | Disinfection | Ozone contactor
Aquatic | Environmental Quality | Disinfection | Ozone destruct unit
Aquatic | Environmental Quality | Disinfection | Ozone generator
Aquatic | Environmental Quality | Disinfection | UV filter
Aquatic | Environmental Quality | Oxygen/Air Systems
Aquatic | Environmental Quality | Oxygen/Air Systems | Air line
Aquatic | Environmental Quality | Oxygen/Air Systems | Air pump
Aquatic | Environmental Quality | Oxygen/Air Systems | Air stone
Aquatic | Environmental Quality | Oxygen/Air Systems | Gas regulator
Aquatic | Environmental Quality | Oxygen/Air Systems | Venturi Injector
Aquatic | Environmental Quality | Temperature Regulation
Aquatic | Environmental Quality | Temperature Regulation | Chiller
Aquatic | Environmental Quality | Temperature Regulation | Heat exchanger
Aquatic | Environmental Quality | Temperature Regulation | Submersible heater
Aquatic | Environmental Quality | Temperature Regulation | Thermostat
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | Calcium reactor
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | CO2 injector
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | CO2 monitor/controller
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | CO2 tank
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | Dosing pump
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | O2 injector
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | O2 monitor/controller
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | O2 probe
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | O2 tank
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | pH monitor/controller
Aquatic | Environmental Quality | Water Chemistry Monitoring/Regulation | pH probe
Aquatic | Filtration
Aquatic | Filtration | Biological Process
Aquatic | Filtration | Biological Process | Algae turf scrubber
Aquatic | Filtration | Biological Process | Bead filter
Aquatic | Filtration | Biological Process | Canister filter
Aquatic | Filtration | Biological Process | Cartridge filter
Aquatic | Filtration | Biological Process | Denitrification filter
Aquatic | Filtration | Biological Process | Drum filter
Aquatic | Filtration | Biological Process | Fluidized sand bed
Aquatic | Filtration | Biological Process | High rate sand filter
Aquatic | Filtration | Biological Process | Low rate sand filter
Aquatic | Filtration | Biological Process | Micron bag filter
Aquatic | Filtration | Biological Process | Refugia
Aquatic | Filtration | Biological Process | Sponge filter
Aquatic | Filtration | Biological Process | Trickle filter
Aquatic | Filtration | Biological Process | Under gravel filter
Aquatic | Filtration | Biological Process | Wet/dry filter
Aquatic | Filtration | Chemical Process
Aquatic | Filtration | Chemical Process | Activated carbon
Aquatic | Filtration | Chemical Process | Barley straw
Aquatic | Filtration | Chemical Process | Canister filter
Aquatic | Filtration | Chemical Process | Deionization
Aquatic | Filtration | Chemical Process | Ion exchange
Aquatic | Filtration | Chemical Process | Peat
Aquatic | Filtration | Chemical Process | Zeolite
Aquatic | Filtration | Mechanical Process
Aquatic | Filtration | Mechanical Process | Air dryer
Aquatic | Filtration | Mechanical Process | Bead filter
Aquatic | Filtration | Mechanical Process | Canister filter
Aquatic | Filtration | Mechanical Process | Cartridge filter
Aquatic | Filtration | Mechanical Process | Cyclone filter
Aquatic | Filtration | Mechanical Process | Diatomaceous earth filter
Aquatic | Filtration | Mechanical Process | Drum filter
Aquatic | Filtration | Mechanical Process | Foam fractionator
Aquatic | Filtration | Mechanical Process | High rate sand filter
Aquatic | Filtration | Mechanical Process | Low rate sand filter
Aquatic | Filtration | Mechanical Process | Membrane filter
Aquatic | Filtration | Mechanical Process | Micron bag filter
Aquatic | Filtration | Mechanical Process | Reverse osmosis filter
Aquatic | Filtration | Mechanical Process | Screen/mesh
Aquatic | Filtration | Mechanical Process | Sponge filter
Aquatic | Filtration | Mechanical Process | Surface skimmer
Aquatic | Filtration | Mechanical Process | Under gravel filter
Aquatic | Filtration | Mechanical Process | Wet/dry filter
Aquatic | Filtration | Sterilizing Process
Aquatic | Lighting
Aquatic | Lighting | Fluorescent
Aquatic | Lighting | Fluorescent | Automatic diurnal movement
Aquatic | Lighting | Fluorescent | Ballast
Aquatic | Lighting | Fluorescent | Dimmer
Aquatic | Lighting | Fluorescent | Fixture
Aquatic | Lighting | Fluorescent | Lamp
Aquatic | Lighting | Fluorescent | Reflector
Aquatic | Lighting | Fluorescent | Timer
Aquatic | Lighting | Halide
Aquatic | Lighting | Halide | Automatic diurnal movement
Aquatic | Lighting | Halide | Ballast
Aquatic | Lighting | Halide | Fixture
Aquatic | Lighting | Halide | Lamp
Aquatic | Lighting | Halide | Reflector
Aquatic | Lighting | Halide | Timer
Aquatic | Lighting | Incandescent
Aquatic | Lighting | Incandescent | Automatic diurnal movement
Aquatic | Lighting | Incandescent | Ballast
Aquatic | Lighting | Incandescent | Dimmer
Aquatic | Lighting | Incandescent | Fixture
Aquatic | Lighting | Incandescent | Lamp
Aquatic | Lighting | Incandescent | Reflector
Aquatic | Lighting | Incandescent | Timer
Aquatic | Lighting | Light Emitting Diode
Aquatic | Lighting | Natural
Aquatic | Lighting | Natural | Open air
Aquatic | Lighting | Natural | Skylight
Aquatic | Lighting | Natural | Sun collector
Aquatic | Plumbing
Aquatic | Plumbing | Current generation
Aquatic | Plumbing | Current generation | Automatic siphon
Aquatic | Plumbing | Current generation | Dump bucket
Aquatic | Plumbing | Current generation | Powerhead
Aquatic | Plumbing | Current generation | Surge controller
Aquatic | Plumbing | Current generation | Water pump
Aquatic | Plumbing | Mechanics
Aquatic | Plumbing | Mechanics | Actuator
Aquatic | Plumbing | Mechanics | Degassing chamber
Aquatic | Plumbing | Mechanics | Head tank
Aquatic | Plumbing | Mechanics | Motor
Aquatic | Plumbing | Mechanics | Pipe
Aquatic | Plumbing | Mechanics | Plumbing/Piping
Aquatic | Plumbing | Mechanics | Powerhead
Aquatic | Plumbing | Mechanics | Reservoir
Aquatic | Plumbing | Mechanics | Valve
Aquatic | Plumbing | Mechanics | Water pump
Terrestrial
Terrestrial | Air
Terrestrial | Air | Air exchange
Terrestrial | Air | Air exchange | Discharge fan
Terrestrial | Air | Air exchange | Passive ventilation
Terrestrial | Air | Air exchange | Supply fan
Terrestrial | Air | Humidity
Terrestrial | Air | Humidity | De-humidifier
Terrestrial | Air | Humidity | Humidifier
Terrestrial | Air | Humidity | Humidistat
Terrestrial | Air | Humidity | Mister
Terrestrial | Air | Humidity | Spray
Terrestrial | Air | Temperature
Terrestrial | Air | Temperature | Central air conditioner
Terrestrial | Air | Temperature | Heat Globe (Light)
Terrestrial | Air | Temperature | Hot air blower
Terrestrial | Air | Temperature | Local air conditioner
Terrestrial | Air | Temperature | Radiator - Electrical
Terrestrial | Air | Temperature | Radiator - Oil filled
Terrestrial | Air | Temperature | Radiator - Steam Filled
Terrestrial | Air | Temperature | Radiator - Water Filled
Terrestrial | Air | Temperature | Thermostat
Terrestrial | Ground
Terrestrial | Ground | Temperature
Terrestrial | Ground | Temperature | Heat mat
Terrestrial | Ground | Temperature | Hot rock
Terrestrial | Ground | Temperature | Spot light
Terrestrial | Ground | Temperature | Subterranian heat exchanger
Terrestrial | Ground | Temperature | Thermostat
Terrestrial | Ground | Water
Terrestrial | Ground | Water | Soak hose
Terrestrial | Ground | Water | Sprinkler
Terrestrial | Ground | Water | Watering system
Terrestrial | Lighting
Terrestrial | Lighting | Fluorescent
Terrestrial | Lighting | Fluorescent | Ballast
Terrestrial | Lighting | Fluorescent | Dimmer
Terrestrial | Lighting | Fluorescent | Fixture
Terrestrial | Lighting | Fluorescent | Lamp
Terrestrial | Lighting | Fluorescent | Reflector
Terrestrial | Lighting | Fluorescent | Timer
Terrestrial | Lighting | Halide
Terrestrial | Lighting | Halide | Ballast
Terrestrial | Lighting | Halide | Fixture
Terrestrial | Lighting | Halide | Lamp
Terrestrial | Lighting | Halide | Reflector
Terrestrial | Lighting | Halide | Timer
Terrestrial | Lighting | Incandescent
Terrestrial | Lighting | Incandescent | Ballast
Terrestrial | Lighting | Incandescent | Dimmer
Terrestrial | Lighting | Incandescent | Fixture
Terrestrial | Lighting | Incandescent | Lamp
Terrestrial | Lighting | Incandescent | Reflector
Terrestrial | Lighting | Incandescent | Timer
Terrestrial | Lighting | Natural
Terrestrial | Lighting | Natural | Open air
Terrestrial | Lighting | Natural | Skylight
Terrestrial | Lighting | Natural | Sun collector
Incubation
Incubation | Incubator
Incubation | Incubator | Air exchange
Incubation | Incubator | Air exchange | Forced Air
Incubation | Incubator | Air exchange | Gas injector
Incubation | Incubator | Air exchange | Still Air
Incubation | Incubator | Humidity
Incubation | Incubator | Humidity | Drip mat
Incubation | Incubator | Humidity | Humidistat
Incubation | Incubator | Humidity | Mister
Incubation | Incubator | Humidity | Ventilator
Incubation | Incubator | Rotation
Incubation | Incubator | Rotation | Automatic
Incubation | Incubator | Rotation | Manual
Incubation | Incubator | Rotation | Semi-automatic
Incubation | Incubator | Temperature
Incubation | Incubator | Temperature | Electrical element
Incubation | Incubator | Temperature | Gas burner
Incubation | Incubator | Temperature | Thermostat